## Slide 1: Cell Viability of Curcumin Treated T-C1 (MTS)
Davit Sargsyan, 04/29/2016

## Slide 2: Experiment Timeline
Monday 04/18/2016: 3 96-well plates were seeded with 10^3 cells per well.
Tuesday 04/19/2016: 8 doses of Curcumin were applied to the plates, highest to lowest from Column 2 to Column 9 respectively; column 10 was left as a positive control; edges were filled with medium.
Wednesday – Friday (04/20/2016 to 04/22/2016): every day, for 3 consecutive days, one plate was taken out, MTS was applied to wells, and plate readings were taken 2 hours later.

## Slide 3: Design and Analysis
TRAMP-C1 cells were dosed with serially diluted (. . . /2) Curcumin. Each of the 3 96-well plate contained 6 replicas for each of the 9 doses, plus DMSO control and medium control (background). Plates were analyzed at 24, 48 and 72 hours. Each plate was red twice. The results are presented below.
Data was analyzed using R 3.2.1. The estimates and plots were obtained using my robust 4-parameter curve fitting R package ‘ricf’.

## Slide 4: Raw Read-outs

## Slide 5: Curves Fitted to Read-outs

## Slide 6: %DMSO Data

## Slide 7: Curves Fitted to %DMSO

## Slide 8: Robust IC20/50/80 Estimates 24 Hour/ Reading1

## Slide 9: Robust IC20/50/80 Estimates 24 Hour/ Reading2

## Slide 10: Robust IC20/50/80 Estimates 48 Hour/ Reading1
No convergence

## Slide 11: Robust IC20/50/80 Estimates 48 Hour/ Reading2

## Slide 12: Robust IC20/50/80 Estimates 72 Hour/ Reading1

## Slide 13: Robust IC20/50/80 Estimates 72 Hour/ Reading2

## Slide 14: Discussion
Although data followed 4-parameter model well for 24 and 72 hour read-outs, 48 hour read-outs had major issues.
Variance decreased from lowest to highest doses at 72 hours but the robust model assumed homogeneity of variance across concentrations. Although this might not have influenced the estimates in this case, generally a transformation of the response might be needed to stabilize variance.
Hook effect was observed at low doses at 24 hours. A model that can describe the hook might be more appropriate, especially if the hook effect becomes more pronounced.
Smaller intervals between the doses can be beneficial as we can get smoother curves around IC50 values and decrease standard errors of the estimates.